## Slide 1: Microbial Community Profiling Matt Settles, PhD University of California, Davis settles@ucdavis.edu
Bioinformatics Core
Genome Center
UC Davis
bioinformatics.ucdavis.edu

## Slide 2: Disclaimer
This talk/workshop is full of opinion, there are as many different way to perform analysis as there are Bioinformaticians.
My opinion is based on over a decade of experience and spending a considerable amount of time to understand the data and how it relates to the biological question.
Each experiment is unique, this workshop is a starting place and should be adapted to the specific characteristics of your experiment.

## Slide 3: Outline
This workshop is intended for those who are interested in and are in the planning stages of conducting an experiment to study microbial communities using amplicon based methods (16S, ITS, etc.). Topics to be discussed will include:
Bioinformatics IS a Data Science
The difference between Microbial Community Analysis and Metagenomics
Experimental Design
Sample preparation, best practices
High throughput sequencing basics and choices
Cost estimation
Microbial Community Analysis
  Data cleanup and quality assurance
  Assigning reads to taxa and counting
  Analysis of the output
Downstream analysis/visualizations and tables

## Slide 4: Bioinformatics IS a Data Science
Section

## Slide 5: The data deluge
Plucking the biology from the Noise

## Slide 6: Reality
Its much more difficult than we may first think

## Slide 7: Data Science
Data science is the process of formulating a quantitative question that can be answered with data, collecting and cleaning the data, analyzing the data, and communicating the answer to the question to a relevant audience.
Five Fundamental Concepts of Data Science
statisticsviews.com November 11, 2013 by Kirk Borne
Notes: Kirk Borne – George Mason University

## Slide 8: HTS Experiment Philosophy
Perform Experiment
Sample and Extract RNA/DNA
Analyze
Interpret
Prepare Libraries
Sequence
Design
Experiment

## Slide 9: 7 Stages to Data Science
Define the question of interest
Get the data
Clean the data
Explore the data
Fit statistical models
Communicate the results
Make your analysis reproducible

## Slide 10: Bioinformatics done well
Data science done well looks easy – and that’s a big problem for data scientists
simplystatistics.org
March 3, 2015 by Jeff Leek

## Slide 11: Substrate
Cluster
Computing
Cloud
Computing
BASTM
Laptop & Desktop
LINUX

## Slide 12: Environment
“Command Line” and “Programming Languages”
Open
Source
VS
Bioinformatics Software Suite

## Slide 13: Prerequisites
Access to a multi-core (24 cpu or greater), ‘high’ memory 64Gb or greater Linux server.
Familiarity with the ’command line’.
Basic knowledge of how to install software
Basic knowledge of R and statistical programming
Basic knowledge of Statistics and model building
At least one programming language (eg python)

## Slide 14: Bioinformatics
Know and Understand the experiment
  “The Question of Interest”
Develop a deep familiarity and understanding of the techniques/tools/methods
Build a set of assumptions/expectations
  Mix of technical and biological
  Spend your time testing your assumptions/expectations
  Don’t spend your time finding the “best” software
Don’t under-estimate the time Bioinformatics may take
Be prepared to accept ‘failed’ experiments

## Slide 15: THE Bottom Line
The Bottom Line:
Spend the time (and money) planning and producing good quality, accurate and sufficient data for your experiment.
Get to know to your data, develop and test expectations
Result, you’ll spend much less time (and less money) extracting biological significance and results during analysis.

## Slide 16: Amplicons vs. Metagenomics
Metagenomics
  Shotgun libraries intended to sequence random genomic sequences from the entire bacterial community.
  Can be costly per sample ($500 to multi thousands per sample)
  Better resolution and sensitivity to characterize the sample
  Due to cost, can only do relatively few samples
Amplicon community profiling
  Sequence only one regions of one gene (e.g. 16s, ITS, LSU)
  Cheap per sample (at scale, down to $20/sample)
  Due to cost, can do many hundreds of samples make more global inferences

## Slide 17: Metagenomic Sequencing Designs
Taxonomic Identification
  Amplicon based (e.g. 16s variable regions)
  Shotgun Metagenomics
Functional Characterization
  Shotgun Metagenomics
  Shotgun Metatranscriptomics (active)
Genome Assembly, Function and Variation
  Shotgun Metagenomics
  Shotgun Metatranscriptomics

## Slide 18: Experimental Design: Community profiling
Section

## Slide 19: General rules for preparing samples
Prepare more samples then you are going to need, i.e. expect some will be of poor quality, or outright fail
Preparation stages should occur across all samples at the same time (or as close as possible) and by the same person
Spend time practicing a new technique to produce the highest quality product you can, reliably
Quality should be established using Fragment analysis traces (pseudo-gel images, FOR RNA RIN > 7.0)
DNA/RNA should not be degraded
  260/280 ratios for RNA should be approximately 2.0 and 260/230 should be between 2.0 and 2.2. Values over 1.8 are acceptable
Quantity should be determined with a Fluorometer, such as a Qubit.
BE CONSISTENT ACROSS ALL SAMPLES!!!

## Slide 20: Proposal Stage – Reads per sample
Considerations
Number of reads being sequenced
Proportion that is diversity sample (e.g. PhiX)
Number of samples being pooled in the run
The back of the envelope calculation
example
Recommendations
Illumina ‘recommends’ 100K per sample
I’ve used 30K per sample historically, others are fine with 3K per sample
Really should have as many reads as your experiment needs

## Slide 21: Rarefaction curves
However:
“Waste Not, Want Not: Why Rarefying Microbiome Data Is Inadmissible”
http://journals.plos.org/ploscompbiol/article?id=10.1371/journal.pcbi.1003531
’Deep’ sequence a number of test samples
(~1M+ reads).
Plot rarefactions curves of Amplicons, to determine if saturation is achieved

## Slide 22: Take Homes
Experience and/or literature searches (other peoples experiences) will provide the best justification for estimates on needed depth.
‘Longer’ reads are better than short reads.
Libraries can be sequenced again, so do a pilot, estimate ‘contamination’, compute rarefaction/16s coverage then sequence more accordingly.

## Slide 23: Cost Estimation
PCR reactions
  Library QA/QC (Bioanalyzer and Qubit/microplate reader)
  Pooling
Sequencing (Number of Lanes / runs)
  Because sequencing is an absolute cost, community profiling gets cheaper per sample the more you pool together. I have pooled as much as 1500 amplicons on one MiSeq V3 sequencing run.
Bioinformatics (General rule is to estimate the same amount as data generation, i.e. double your budget)
http://dnatech.genomecenter.ucdavis.edu/prices/

## Slide 24: Sequencing
Illumina

## Slide 25: Illumina sequencing
Illumina SBS
Target Region
P5 BC2
BC1 P7
Read 1 (50 - 300bp)
Read 2 (50-300bp)
BC1 (8bp)
BC2 (8bp)
Insert size
Fragment length

## Slide 26: Genomic Reduction
Depth of Coverage
1X
100000X
Whole Genome
1KB
RADseq
Capture Techniques
Fluidigm Access Array Amplicons
Few or Single Amplicons
Genomic reduction allows for greater multiplexing of samples.
You can fine tune your depth of coverage needs and sample size
with the reduction technique
GBSseq
RNAseq
3GB

## Slide 27: Illumina HISEQ sequencing
http://www.illumina.com/systems/hiseq-3000-4000/specifications.html
2500
MiSeq

## Slide 28: Illumina MISEQ SEQUENCING

## Slide 29: Double barcoded primer design
Section

## Slide 30: Microbial community analysis
Goal: A culture independent method for profiling the diversity of a community.
High-throughput sequencing technologies (such as Illumina) can generate millions of amplicons, across thousands of samples in a single run, and are today our best approach to deeply assess the environmental or clinical diversity of complex microbial assemblages of archaea, bacteria, and eukaryotes.
Using sequence variation within a common gene (e.g. 16s) to assign and count community members rather than counting individual cells. Assume each sequence variant is one community member.

## Slide 31: Amplicons: Common Approach
Common approach
Single PCR
Long primer sequences (up to ~75bp) that contain barcodes and sequencing adapters
Custom sequencing primers amplify from target primer
Single or dual barcodes
  (dual barcode are sometimes within read)

## Slide 32: Amplicons: Two Step PCR Approach
Barcodes and adapters are added in the second round of PCR
PCR-1
Template with overhang
PCR-2
Add barcodes and adapters

## Slide 33: Multiplex Samples
Dual barcoding allows for massively multiplexing of samples using only a relatively few primers
GTATCGTC
TGCTCGTA
GTCGTCGT
GTGCGTGT
GCGTCGTG
GTCGTGTA
GATGTAGC
GAGTGATC
CGCTATCA
CGCTGTAG
Pairing of BC1 and BC2 uniquely identifies sample
5 Pairs of Barcodes allows for multiplexing of 25 samples.
32 Pairs can multiplex 1024 samples in the same sequencing reaction
8bp [Error-Correcting]
Barcodes

## Slide 34: Multiplex Amplicon Targets
48 samples X 48 amplicons
2304 Two-step PCR reactions
PCR-1 product
PCR-2 product
Fluidigm Access Array System
Pool many samples

## Slide 35: dbcAmplicons
Originally conceived in late 2012 to lower per sample costs on relatively short targeted (PCR) regions
  16S, ITS, LSU, 18S, etc. Community profiling
  Extraction of mitochondria, virae, chloroplast regions, plasmids by PCR
  Genotyping of samples for phylogenomics, genome to phenotype interactions
Uses the Illumina platform, capably of pooling thousands, or even tens of thousands of barcoded samples/targets per sequencing run.
Core Facility friendly, facilitates interactions between and across individual labs, standardizing workflows.
Consistency across labs leads to predictability in the DNA Technologies Core, which leads to consistency in result.

## Slide 36: Primer Design

## Slide 37: Template Specific Primer Design
Each primer pair contains the following parts
  CS1 or CS2 to attach second adapter/barcode primer
  Phase-shifting bases [see below]
  Linker sequence
  Template specific primer sequence
TCA
GTCA
AGTCA
Phase shifting primer
TS
CS
CA
NCA
NNCA
NNNCA
Phase shifting primers with PCR duplicate detection
TS
CS
CA
Ns, resolve to be PCR duplicate keys
(Unique Molecular Indexes, UMIs)
and should only ever appear once

## Slide 38: QC: what is a “good” PCR library?
Unused primers and adapters
BAD!
Good!
Unused primer
Template of interest

## Slide 39: Pooling Samples/Amplicons
Even amplicon representation is important and difficult to achieve. Amplicon counts can vary from sample to sample by 100x
Each amplicon should be evaluated by quality (ideally by trace) and quantity (fluourometery). Both qualities will effect final counts.
Best practices
  First group amplicons by quality/quantity profiles
  Pool each group separately
  If a small number of groups consider qPCR on each group for final pooling concentrations
  If a large number re-quantify and pool to final pool.

## Slide 40: Nucleotide diversity
Critically important for imaging clusters

## Slide 41: Amplicon runs are Low Complexity
Sequencing with lower cluster density
Adding in highly diverse libraries (shotgun libraries ~15%)
Phase-shifting template specific primers:

## Slide 42: Benefits/Drawbacks
Drawbacks
Benefits
Maximum Flexibility, fewer target specific primers needed.
Dual barcoding, allowing for massively multiplexing of samples to occur.
Pool multiple targets per run
Software for demultiplexing
Two – step PCR reaction
Sequence the target specific primer
  In my opinion NOT a feature not a drawback

## Slide 43: Common Analysis Workflow
Identify barcodes
Identify primer sequence (if present) and trim
Overlap paired end reads to produce single read, full amplified target sequence
Generate operational taxonomic unites (“OTUs”), via clustering or classification
Assign ”OTUs” to an organism
Generate abundance tables
Statistical testing

## Slide 44: Common workflows
Qiime
  Worst piece of software to install ever
Mothur
dbcAmplicons (my software)

## Slide 45: dbcAmplicons
Target Specific
Primer Design
Primer Validation
Dual-barcoded
Two-step
PCR
DNA
Pooling
And
Quantification
Illumina Sequencing
Four Read Setup
Preprocess:
Demuliplex by barcodes and primer sequences
Downstream
Analysis
Performed in Researcher’s Lab
Python dbcAmplicons application
Performed in Core Facility
Two-step PCR
highly multiplexed and modular amplicon design

## Slide 46: Sequencing
Read | Sequencing Primer
Read1 primer | CS1 - 5’ ACACTGACGACATGGTTCTACA
Read2 primer | CS2 - 5’ TACGGTAGCAGAGACTTGGTCT
BC1 primer | CS2rc - 5’ AGACCAAGTCTCTGCTACCGTA
BC2 primer | Uses the P5 amplification primer
Illumina four read sequencing run

## Slide 47: Bioinformatics
Illumina bcl2fastq 1.8.4
Four
Fastq files
“Preprocess”
Demultiplex barcode and
primer sequences
https://github.com/msettles/dbcAmplicons
dbcAmplicons
Python Application
Overlap paired reads
(wrapper around custom Flash2)
Downstream Analysis
Barcode | Match determined by edit-distance, allowing for 1 mismatch per barcode (by default)
Primers | Match determined by Levenshtein Distance allowing for 4 mismatches (by default) with the final 4 (by default) bases required to be perfect matches
Barcode Table
Primer Table
Sample Sheet

## Slide 48: Downstream Analysis
Population Community Profiling ( i.e. microbial, bacterial, fungal, etc. )
Targeted Re-sequencing
Screen | Using Bowtie2, screen targets against a reference fasta file, separating reads by those that produce matches and those that do not match sequences in the reference database.
Classify | Wrapper around the MSU Ribosomal Database Project (RDP) Classifier for Bacterial and Archaeal 16S rRNA sequences, Fungal 28S rRNA, fungal ITS regions
Abundance | Reduce RDP classifier results to abundance tables (or biom file format), rows are taxa and columns are samples ready for additional community analysis.
 | Consensus - Reduce reads to consensus sequence for each sample and amplicon
R-functions to be added into dbcAmplicons | Most Common – Reduce reads to the most commonly occurring read in the sample and amplicon ( that is present in at least 5% and 5 reads, by default )
 | Haplotypes – Impute the different haplotypes in the sample and amplicon
dbcAmplicons Python Application

## Slide 49: Supplemental Scripts
convert2Readto4Read.py
  For when samples are processed by someone else
splitReadsBySample.py
  To facilitate upload to the SRA
preprocPair_with_inlineBC.py
  Cut our inline BC and create 4 reads for standard input processing
  Will work with ”Mills lab” protocol
dbcVersionReport.sh
  Print out version numbers of all tools

## Slide 50: dbcAmplicons: dependent software
dbcAmplicons
  https://github.com/msettles/dbcAmplicons
Flash2, for overlapping reads
  https://github.com/dstreett/FLASH2
RDP for classification
  https://github.com/rdpstaff/RDPTools
Bowtie2 for screening (if relevant)
  https://github.com/BenLangmead/bowtie2

## Slide 51: Flash2 – overlapping of reads
Target Region
Read 1
Insert size
Read 2
Target Region
Read 1
Insert size
Read 2
Target Region
Read 1
Insert size
Read 2
Insert size > length of the number of cycles
Insert size < length of the number of cycles (10bp min)
Insert size < length of the read length
Product: Read Pair
Product: Extended Single
Product: Adapter Trimmed Single

## Slide 52: Flash2 typically produces tight sizes

## Slide 53: dbcAmplicons: classify
Uses the RDP (Ribosomal Database Project) classifier for bacterial and archaeal 16S, fungal LSU, ITS warcup/unite databases.
Classifies sequences to the closest taxonomic reference provides a bootstrap score for reliability
Concatenates Paired-end reads
  Can trim off low quality ends, to some value Q

## Slide 54: Direct Classification - RDP
Ribosomal Database Project (RDP) - naïve Bayesian Classifier
  Compares each read to a database
    Database is updates periodically
  Compares by k-mers (15 mers)
  100 bootstraps to establish confidence in result
Order does not matter, no 3% !
Drawbacks
  Accepts only fasta (though website implies fastq) files
  Can be slow
  Down to genus only (for 16s, species for ITS)
  Kmer database are based on whole 16s
  Cannot group together unknown OTUs that represent unique taxa

## Slide 55: Direct classification vs clustering
Clustering – “Because of the increasing sizes of today’s amplicon datasets, fast and greedy de novo clustering heuristics are the preferred and only practical approach to produce OTUs”. I DISAGREE
Shared steps in these current algorithms are:
  An amplicon is drawn out of the amplicon pool and becomes the center of a new OTU (centroid selection)
  This centroid is then compared to all other amplicons remaining in the pool.
  Amplicons for which the distance is within a global clustering threshold, t (e.g. 3%), to the centroid are moved from the pool to the OUT
  The OTU is then closed. These steps are repeated as long as amplicons remain in the pool.

## Slide 56: Reasons why I’m not a fan
Little to no biological rational to any of the clustering parameters, modify the parameters to get a result you like.
Dependent on ordering, reorder our reads you can get different set of OTUs. Often not repeatable from run to run.
3% (or any other cutoff) is BS.
Most clustering algorithms do not consider sequencing errors.
If you generate more data you have to start the clustering process all over again as population of sequences matters.
I’m sure there is more

## Slide 57: OTU clustering Comparison
Chen W, Zhang CK, Cheng Y, Zhang S, Zhao H (2013) A Comparison of Methods for Clustering 16S rRNA Sequences into OTUs. PLoS ONE 8(8): e70837. doi:10.1371/journal.pone.0070837
http://journals.plos.org/plosone/article?id=info:doi/10.1371/journal.pone.0070837

## Slide 58: Abundance tables and Biom files
Can open file in spreadsheet; lists lowest taxonomically classified level for each sample by read count
Biom file
The BIOM file format (canonically pronounced biome) is designed to be a general-use format for representing biological sample by observation contingency tables. BIOM is a recognized standard for the Earth Microbiome Project and is a Genomics Standards Consortium supported project.

## Slide 59: Future Directions
dbcAmplicons is a data reduction pipeline, produces abundance/biome files, post processing most typically done in R.
Include “error-correcting barcodes” in demultiplexing
Identification of PCR duplicates (using UMI)
Replace RDP classification with another scheme
  Have ideas (for years) but no time
Use amplicon length in classification
Include screening of diversity sample in preprocessing to get an idea of actual proportion in the pool
Incorporate the R genotyping pipeline into dbcAmplicons
  Extend to inferring copy number (or ploidy levels)
Correct for copy number (16s)

## Slide 60: Post Processing
I pretty much do all of my post analysis (abundance table, Biome) in R
  Common Packages
    Vegan
      https://github.com/vegandevs/vegan
    Vegetarian
      https://github.com/cran/vegetarian
    Phyloseq (uses vegan, ade4, ape, picante)
      https://joey711.github.io/phyloseq/
Ecological Diversity Analysis
  how does the structure of OTU across samples/groups compare
Ordination Analysis (multivariate analysis)
  Visualize the relative similarity/dissimilarity across samples, test for taxa/environment relationships
Differential Abundance Analysis (univariate analysis)
  Uses tools from RNAseq (limma, edgeR)
Visualization (temporal, heatmaps, ’trees’, more)

## Slide 61: Standardization/Normalization
Relative (proportional) abundances
  Divide by sum of sample, values 0-100%
LogCPM from RNAseq
Hellinger standardization
  http://biol09.biol.umontreal.ca/PLcourses/Section_7.7_Transformations.pdf
Others
  Wisconsin

## Slide 62: Multi community analysis

## Slide 63: Getting Help
Host Microbe Systems Biology Core (HMSB)
  http://www.ucdmc.ucdavis.edu/medmicro/hmsbcore/index.html
  DNA Extractions
  Library Construction
  Data Analysis
DNA Technologies Core
  http://dnatech.genomecenter.ucdavis.edu/
  Illumina Sequencing of Libraries
Bioinformatics Core
  http://bioinformatics.ucdavis.edu/
  Experimental design
  Data analysis
  Custom analysis